## Project Information
Project Title | Residential Power Disaggregation
Team Members | Andrew Bailey* | *Team Leader
Ralph Cullom
Manny Harris
Labib Kasim
Sponsor | ABB
Mentor | Huangjie Gong
Project Background
Traditional household meters measure the combined consumption of all appliances, some of which possess substantial thermal mass and can be leveraged for demand response without compromising occupant comfort. To assess a residence's potential for demand response, a cost-effective, IoT-driven system could be employed by consumers to disaggregate various residential loads. This device will incorporate machine learning and advanced data processing techniques to break down and forecast residential load across different categories based on the aggregated measurement. The device will take total energy usage data from a standard meter, along with external weather data. The outcomes will encompass the computed energy usage for individual appliances/categories and their projections derived from the collective data gathered. This data can be used by homeowners to save money on their monthly power bill.
Project Statement
The goal of this project is to measure power used by a house and use machine learning to disaggregate data to present the user their power consuption data. By measuring and predicting power usage the customer will be able to save money. To achieve this goal the final system as a whole shall fulfill the requirements in tab "Product Requirement Main Plan".
Notes:
Requirements shall use the word “shall”, shall be NUMBERED, and shall include only one reqt per number. Every requirement shall have a unique ID/number. See example below
Optional Requirements: Use the word “MAY” instead of “SHALL”

## Product Requirement Main plan
Keywords / Acronyms: | [5 empty] | I: Inspection, A: Analysis, D: Demo, T: Testing
NEC | National Electric Code
IoT | Internet of Things
lbs | Pounds
Disaggregated Loads | Individual power signals based of total combined power measured
VAC | AC voltage
IOS and Android | Mobile phone operating systems
Item # | Product Requirements and Test cases | I | A | D | T | Test Case and Method | Pass case scenario | Fail case scenario | Test Results | Comments
0 | User definition and assumptions about the user:
0.1 | The user shall have WiFi in their household | X
0.2 | The user shall be able to naviagte a website displaying data about their power usage | X
0.3 | The user shall have a basic understanding of power output readings | X
1 | Product’s core requirements
1.1 | Device shall measure lumped power usage by a household |  |  |  | X | Compare measured values vs bills from the utility | <10% error | >10% error
1.2 | Current transformer shall communicate wirelessly back to online data storage through IoT | X
1.3 | The machine learning algorithm shall take data and weather as inputs and output the disaggregated loads. | X
1.4 | Centralized software system/website shall record and display all the disaggregated loads and the predicted future usage |  |  | X
1.5 | Mobile app that the customer can download may show the customer's current and previous energy usage.
2 | General Operational Requirements and Features
A | User interaction/operation
A.1 | Software shall be easily accessible to its users. | X
A.2 | The analysis of power by the algorithm and meter shall be easily visible through the website or app. | X
A.3 | User may be able to effectively measure their household expenditures through the findings on the software. |  |  | X
B | Operating Environment
B.1 | Device shall operate uninterupted 24/7/365 | X
B.2 | Device shall send data to server every 1 minute |  |  | X
B.4 | The website shall be compatable on desktop or mobile devices |  |  | X
B.5 | Mobile app shall be able to run on IOS or Android
C | System size/weight/look and feel features
C.1 | Unit shall be able to fit comfortably inside of a residential breaker box |  |  |  | X
C.2 | All internal components of the device shall be protected by a plastic or metal covering |  |  | X
C.3 | Device shall weigh less than 5lbs |  |  | X
3 | System/Device/Unit Constraint requirements
D | Compatibility or interfacing constraints
D.1 | Shall be compatible with any 200 amp split-phase residential panel | X
D.2 | Shall work with any 2.4GHz Wi-Fi service provider |  |  | x
D.3 | The device shall not impede usage of the existing breaker box |  |  | x
D.4 | The device shall recieve 120VAC from a breaker inside the panel |  |  | x
D.5 | The current transformers shall be able to fit around the incoming split phase inputs | X
E | Robustness Constraints
E.1 | The final device shall be small enough to fit neatly inside of residential panel | X
E.2 | The device shall be able to withstand temperatures from -20 to 120 degrees Farenheit | X
E.3 | The device will have power surge protection | X
F | Cost constraints
F.1 | The cost of the system will be less than $100 | X
F.2 | Use of the website shall not have a cost to the user |  |  | X
G | Safety / Security Constraints
G.1 | Safety mechanisms shall be included in order to ensure that the device does not overload with power. |  |  | x
G.2 | The installation of the meter to residential homes shall comply with 2023 NEC. | x
G.3 | Power measurements shall be able to be halted either through the website or app. |  |  | x
H | Setup/Installation needs
H.1 | Installation shall be done by a certified electrician | x
H.2 | Once installed, the device shall be easily connected to homeowners' wifi via smartphone |  |  | x
H.3 | Insallation may be completed by homeowner if they have extensive electrical knowledge & hands-on experience | x
I | Maintenance Needs
I.1 | The website or app may provide technical assistance in case of failure in power measurements | x
I.2 | Replacement parts for the device shall be easily accessible and cheap. | x
J | Supporting accessories
J.1 | Device shall have labels on the exterior showing where wiring connections are made | x
J.2 | Product shall include installation hardware | x
J.3 | Product shall have a user and installation manual written in English and Spanish | x
K | Any extra features
K.1 | In the future, the device may be able to measure power generated by solar panels or generators |  |  | x
4 | Other needs
L | Machine Learning
L.1 | Seperate device shall gather training data | X
L.2 | Training data shall be used to train the machine learning module |  |  | x
L.3 | Machine learning module shall disaggregate lumped power usage into individual appliance usage |  |  | x
L.4 | Weather data shall be input into machine learning algorithm |  |  | x
L.5 | Weather forecasts shall be used to predict future power usage |  |  | x

## Alpha Demo
This is presented during your Critical design review and Alpha demo in ECE 485
| Alpha Demo test plan | I | A | D | T | Test Case and Method | Test Results | Notes
1 | ML Model & Data Handling (Andrew)
1.1 | Train a machine learning model to make predictions for individual appliance usage | x | x |  |  |  |  | Fits main requirement L.2
1.2 | Create validation method for actual vs. predicted | x | x
1.3 | Write example data to influxDB local | x |  | x |  |  |  | Fits main requirement 1.4
1.4 | Read total power measured from influxDB to ML script | x |  | x
1.5 | Make predictions for disaggregated data with model and send them back to influxDB | x |  | x |  |  |  | Fits main requirement L.3
2 | Data Communication (Manny)
2.1 | Install Home Assistant OS on RPi |  |  |  | x
2.2 | Install influx, grafana, and ESPhome add ons |  | x
2.3 | Send measurements from esp32 to Influx |  | x |  | x
3 | Successful pre-processsing of data (Labib) |  | X | X
3.1 | Preprocess data for training | X | X
3.2 | Fetch real time weather data from an API |  |  | X | X
3.3 | Add power cost data |  |  | X | X
3.4 | Link to other subsystems | X |  |  | X
4 | Website/UI (Ralph)
4.1 | Show data in Grafana | x |  |  | x
4.2 | Show data in graph presets | x |  |  | x
5 | Group
5.1 | Come up with creative ideas to show live data collection | x | x | x | x

## Beta Demo
This is presented during your Critical design review and Alpha demo in ECE 485
| Beta Demo plan (Integrated subsystem) | I | A | D | T | Test Case and Method | Test Results | Notes
1 | ML Model (Andrew)
1.1 | Run machine learning model on Rpi | x | x |  |  |  |  | Fits main requirement 1.4
1.2 | Schedule script to make predictions at a specified interval | x | x | x
1.3 | Include cost calculation and send to influx | x | x | x |  |  |  | Fits main requirement L.5
2 | Data Communication (Manny)
2.1 | Improve communication reliability | x | x
2.2 | Link data to Grafana unbounded (live) |  | x | x | x
3 | Successful pre-processsing of data (Labib)
3.1 | Improve speed of python scripts | x | x |  | x
3.2 | Help Andrew with ML model efficiency
4 | Web/UI (Ralph)
4.1 | Show data locally on device | x |  | x | x
4.2 | Show live demonstration of data collection |  |  | x | x
Group
5.1 | Show data collection live | x | x | x | x
5.2 | Create unique interactive environment to display collection | x | x | x | x

## Tech Demo (hidden)
This is presented during your Preliminary design review in ECE 484. Create your tech demo plan in the following format base don the examples below. There are 2 examples. You need only one plan for your tech demo.
Responsible Team Member
Tech demo Example 1 | One functioning device reading temperature data and sending it the app via bluetooth
1.1 | Device would detect and display the temperature range (-10 to 40 C) | Ron/Harry
1.2 | Device would connect to Phone via bluetooth and show message transfer using an app | Hermoinee/Harry
1.3 | The app will have the screen for user to enter SSID and password. | Hermoinee
1.4 | The first PCB with temperature sensor breakout board and esp32 evalation board will be functional | Hagrid
Tech Demo | We will have our device connect to another device to display that it can record, measure, and display values in real time | Responsible Team Member
1.1 | Demonstrate the database recording the values | Manny
1.2 | Demonstrate old data versus new data | Andrew/Labib
1.3 | Demonstrate the graph showing the recorded values | Ralph

## Tech Demo plan (hidden)
This is presented during your Preliminary design review.
|  | Responsible Team Member | I | A | D | T
Tech demo Example 1 | One functioning device reading temperature data and sending it the app via bluetooth |  |  |  | X | X
1.1 | Device would detect and display the temperature range (-10 to 40 C) | Ron |  | X |  | X
1.2 | Device would connect to Phone via bluetooth and show message transfer using an app | Hermoinee/Harry | X |  |  | X
1.3 | The app will have the screen for user to enter SSID and password. | Harry |  |  |  | X
1.4 | The first PCB with temperature sensor breakout board and esp32 evalation board will be functional | Hagrid |  | X |  | X
Tech Demo Example 2 | Reading of multiple tags within the given distance range accurately, and completed weighing stations
1.1 | Demonstrate all nodes can read a tag and display tag ID on IDE screen. | Ron | X |  | X
1.2 | Demonstrate the multiplexer working together to read 16 tags | Harry |  |  | X | X
1.3 | Demonstrate the weighing station can read a weight in lbs (range 0 - 10 lbs) and display it in lbs to IDE screen | Hermoinee |  | X | X | X

## Hydroponics (hidden)
Keywords / Acronyms: | [5 empty] | I: Inspection, A: Analysis, D: Demo, T: Testing
Nutrient Solution | Fluid the plants are growing in
Gro Lights | Lights to illuminate the growing plants
UI
Controller | Application software running on the device.
IoT | Internet of things connection to sub systems
Quantitative
Item # | Product Requirements and Test cases | I | A | D | T | Test Case and Method | Pass case scenario | Fail case scenario | Test Results | Comments
0 | User definition and assumptions about the user:
1.1 | User shall have a hydroponic system and have basic knowledge of how hydroponic systems operate
1.2
1.3
1 | Product’s core requirements
2.1 | The system shall control the setpoints for different growing conditions.
2.1.1 | The system shall control setpoints for temperature
2.1.1.1 | The system shall control setpoints for ambient air temperature
2.2
2.3
2 | General Operational Requirements and Features
A | User interaction/operation
A.1 | User shall be able to define the setpoints for the growing conditions.
A.1.1 | User shall be able to define the setpoints for the growing conditions using a web interface
A.2
A.3
A.4
B | Operating Environment
B.1 | System shall operate in high humidity environment
B.2
B.3
B.4
C | System size/weight/look and feel features
C.1 | Shall be able to mounted to the rack to a non obtrusive way
C.2
3 | System/Device/Unit Constraint requirements
D | Compatibility or interfacing constraints
D.1 | Web interface shall be compatible with all standard browsers. (Define the browser list)
D.2
D.3
E | Robustness Constraints
E.1 | Sustain a collision with the rack of 0.1 m/s
E.2 | Number of failures allowed
E.3
E.4
F | Cost constraints
Ask what is the projected cost of the product, if there is a limit to the prototyping budget, and/or is there a projected manufacturing volume and cost. These requirements are important because they define system design constraints. These design constraints are important to identify before the team initiates preliminary design options. Frequently, these requirements are finalized based on the sponsor’s vision, product’s value proposition to the customer base as well as market data. These constraints are difficult to define because they will vary based on the client’s vision. Teams working on a project need to check the feasibility of a solution (e.g., is it possible to build a product) and adhere to a prototyping budget limit (e.g., product prototyping cost shall not exceed $1000).
G | Safety / Security Constraints
G.1 | System shall require a password to set parameters
G.2 | System shall have a ground fault protection.
G.3 | System shall not allow users to setpoint beyond the paramer range of...
4 | Other needs (You can rename this section as needed)
H | Setup/Installation needs
H.1 | User shall be able to input their SSID and password via a phone app.
H.2
H.3
H.4
I | Maintenance Needs
I.1 | The system shall be automatically update the firmware
I.2
I.3
J | Supporting accessories
J.1 | A device for the visually impaired: The product’s buttons and knobs will have braille symbols.
J.2 | A dishwasher: The product installation manual will be written in English / Spanish / French.
J.3 | A smart lamp: The product will include installation hardware.
J.4 | A smart e-nose: Device shall have a printed and affixed and clearly identifiable tabulation of all chemical compounds compatible with the product.
K | Any extra features